## Table 2
LP(ORGANIC CABLES & ELECTRICALS)
PRICE LIST : 8th FEBRUARY 2022 LP NO. OCE/W&F/LP/21-22/02 DT.8.02.2022/00
INDUSTRIAL MULTI STRAND CABLES HSN CODE : 85.44.60.20
ORGANIC CABLES - FR PVC INSULATED SINGLE CORE UNSHEATHED INDUSTRIAL MULTISTRAND CABLES - FLAME RETARDANT (FR) WITH EC GRADE COPPER CONDUCTOR FOR VOLTAGE GRADE UPTO 1100 V CONFORMING TO IS-694:2010.
CONDUCTOR (AREA SQ.MM) | NO. & SIZE OF WIRE IN MM | CURRENT (AMPS) BUNCHED & ENCLOSED IN CONDUIT OR TRUNKING | RATE PER 90M COIL | STANDARD PACKING FOR 90MTR. | RATE PER 180M COIL | STANDARD PACKING FOR 180MTR. | RATE PER MTR
0.5 | 16/0.20 | 4 | 1020 | 28 | 2040 | 12 | 11.33
0.75 | 24/0.20 | 7 | 1370 | 28 | 2740 | 12 | 15.22
1 | 32/0.20 | 11 | 1800 | 24 | 3600 | 12 | 20
1.5 | 30/0.25 | 14 | 2630 | 16 | 5260 | 8 | 29.22
2.5 | 50/0.25 | 19 | 4220 | 12 | 8440 | 6 | 46.89
4 | 56/0.30 | 26 | 6240 | 8 | 12480 | 4 | 69.33
6 | 84/0.30 | 31 | 9470 | 6 | 18940 | 3 | 105.22
10 | 80/0.40 | 42 | 16860 | 1 |  |  | 187.33
16 | 126/0.40 | 57 | 26270 | 1 |  |  | 291.89
ORGANIC CABLES - FRLSH PVC INSULATED INDUSTRIAL SINGLE CORE UNSHEATHED INDUSTRIAL MULTISTRAND CABLES WITH FLAME RETARDANT LOW SMOKE (FRLSH) PROPERTIES, WITH EC GRADE COPPER CONDUCTOR FOR VOLTAGE GRADE UPTO 1100 V CONFORMING TO IS-694:2010.
CONDUCTOR (AREA SQ.MM) | NO. & SIZE OF WIRE IN MM | CURRENT (AMPS) BUNCHED & ENCLOSED IN CONDUIT OR TRUNKING | RATE PER 90M COIL | STANDARD PACKING FOR 90MTR. | RATE PER 180M COIL | STANDARD PACKING FOR 180MTR. | RATE PER MTR
0.5 | 16/0.20 | 4 | 1110 | 28 | 2220 | 12 | 12.33
0.75 | 24/0.20 | 7 | 1410 | 28 | 2820 | 12 | 15.67
1 | 32/0.20 | 11 | 1880 | 24 | 3760 | 12 | 20.89
1.5 | 30/0.25 | 14 | 2750 | 16 | 5500 | 8 | 30.56
2.5 | 50/0.25 | 19 | 4430 | 12 | 8860 | 6 | 49.22
4 | 56/0.30 | 26 | 6540 | 8 | 13080 | 4 | 72.67
6 | 84/0.30 | 31 | 9900 | 6 | 19800 | 3 | 110
10 | 80/0.40 | 42 | 17650 | 1 |  |  | 196.11
16 | 126/0.40 | 57 | 27570 | 1 |  |  | 306.33
ORGANIC CABLES - SINGLE CORE, UNSHEATHED INDUSTRIAL (MULTISTRAND) CABLES - ZERO HALOGEN FLAME RETARDANT (ZHFR) WITH EC GRADE COPPER CONDUCTOR FOR VOLTAGE GRADE UPTO 1000 V.
CONDUCTOR (AREA SQ.MM) | NO. & SIZE OF WIRE IN MM | CURRENT (AMPS) BUNCHED & ENCLOSED IN CONDUIT OR TRUNKING | RATE PER 90M COIL | STANDARD PACKING FOR 90MTR. | RATE PER 180M COIL | STANDARD PACKING FOR 180MTR. | RATE PER MTR
0.75 | 24/0.20 | 7 | 1490 | 28 | 2980 | 12 | 16.56
1 | 32/0.20 | 11 | 2010 | 24 | 4020 | 12 | 22.33
1.5 | 30/0.25 | 14 | 2880 | 16 | 5760 | 8 | 32
2.5 | 50/0.25 | 19 | 4570 | 12 | 9140 | 6 | 50.78
4 | 56/0.30 | 26 | 6640 | 8 | 13280 | 4 | 73.78
6 | 84/0.30 | 31 | 10040 | 6 | 20080 | 3 | 111.56
10 | 80/0.40 | 42 | 18060 | 1 |  |  | 200.67
16 | 126/0.40 | 57 | 28060 | 1 |  |  | 311.78
Notes: ● GST and any other tax/levy will be charged extra, at actuals. Freight as per Policy. ● As per international practice which is also adopted by Bureau of Indian Standards, the diameter of the conductor shown above is nominal. The size of the conductor is determined by its resistance. The construction of the conductor is as per market convention and should be treated as a guideline only. It may vary within the limits of IS 8130:1994 with its related classes and tables. ● Standard colours in Building wires are RED / BLACK / BLUE / YELLOW / GREEN. ● FR / FRLSH & ZHFR wires are supplied in standard lengths of 90M Coils & 180M Coils packed in Master Cartons. ● Please refer to our Marketing Department for Wires & Cables, not covered above. ● For other Colours or Lengths please contact our Marketing Department. ● This Price List is subject to change without prior notice.
ORGANIC WIRES & CABLES Page 01 of 02

## Table 4
LP (ORGANICCABLES & ELECTRICALS )
PRICE LIST : 8th FEBRUARY 2022 LP NO. OCE/W&F/LP/21-22/02 DT.8.02.2022/00
PVC INSULATED INDUSTRIAL FLEXIBLE SINGLE & MULTI CORE CABLES HSN CODE : 85.44.60.20
ORGANIC CABLES FLEXIBLE FR PVC INSULATED SINGLE CORE UNSHEATHED INDUSTRIAL MULTISTRAND CABLES FLAME RETARDANT (FR) WITH EC GRADE COPPER CONDUCTOR FOR VOLTAGE GRADE UPTO 1100 V CONFORMING TO IS- 694:2010.
(Rate in Rs. Per 100 Mtrs)
SQ.MM | COND. CONST. (NO./DIA. MM) | CURRENT (AMPS) CLIPPED DIRECT TO A SURFACE OR ON A CABLE TRAY, BUNCHED & UNENCLOSED |  | STD. PACK OF100 MTR COIL | SINGLE CORE FR | SINGLE CORE HRFR 105 Deg | SINGLE CORE FRLSH | SQ.MM | COND. CONST. (NO./DIA. MM) | CURRENT (AMPS) CLIPPED DIRECT TO A SURFACE OR ON A CABLE TRAY, BUNCHED & UNENCLOSED |  | SINGLE CORE FR | SINGLE CORE HRFR 105 Deg | SINGLE CORE FRLSH
0.5 | 16/0.20 | 4 |  | 24 | 1130 | 1210 | 1220 | 35 | 276/0.4 | 110 |  | 64510 | 66660 | 67650
0.75 | 24/0.20 | 7 |  | 24 | 1520 | 1560 | 1565 | 50 | 396/0.4 | 145 |  | 93850 | 95230 | 96040
1 | 32/0.20 | 12 |  | 20 | 2000 | 2080 | 2090 | 70 | 354/0.5 | 200 |  | 131520 | 133430 | 134430
1.5 | 30/0.25 | 16 |  | 16 | 2920 | 3050 | 3055 | 95 | 484/0.5 | 235 |  | 173230 | 176750 | 178060
2.5 | 50/0.25 | 22 |  | 12 | 4690 | 4900 | 4920 | 120 | 608/0.5 | 270 |  | 221530 | 225450 | 228400
4 | 56/0.30 | 29 |  | 8 | 6935 | 7220 | 7265 | 150 | 750/0.5 | 310 |  | 277610 | 282600 | 284720
6 | 84/0.30 | 37 |  | 4 | 10520 | 10950 | 11000 | 185 | 925/0.5 | 360 |  | 336460 | 343120 | 345980
10 | 80/0.40 | 51 |  | 1 | 18730 | 19430 | 19610 | 240 | 1210/0.5 | 425 |  | 444140 | 452490 | 456970
16 | 126/0.40 | 68 |  | 1 | 29190 | 30610 | 30630 | 300 | 1527/0.5 | 490 |  | 553540 | 563550 | 569550
25 | 196/0.40 | 86 |  | 1 | 46180 | 47750 | 48440 | 400 | 2036/0.5 | 590 |  | 732790 | 735040 | 741730
ORGANIC CABLES FLEXIBLE PVC INSULATED MULTICORE FR PVC SHEATHED MULTISTRANDED CABLES WITH EC GRADE COPPER CONDUCTOR FOR VOLTAGE GRADE UPTO 1100 V CONFORMING TO IS-694:2010.
SQ.MM | COND. CONST. (NO./DIA.MM) |  | 2 CORE | 3 CORE | 4 CORE | 5 CORE | 6 CORE | 7 CORE | 10 CORE | 12 CORE | 14 CORE | 16 CORE | 19 CORE | 24 CORE
0.5 | 16/0.20 |  | 3440 | 4540 | 5650 | 7680 | 8890 | 9700 | 15060 | 17390 | 19830 | 22630 | 26140 | 33440
0.75 | 24/0.20 |  | 4670 | 5960 | 7680 | 10590 | 12080 | 13340 | 20280 | 23560 | 27210 | 31000 | 36000 | 45990
1 | 32/0.20 |  | 5200 | 7100 | 9330 | 12330 | 14650 | 16440 | 24910 | 28800 | 33280 | 37970 | 44000 | 56100
1.5 | 30/0.25 |  | 7100 | 9910 | 12810 | 17220 | 20170 | 22610 | 33620 | 39560 | 45820 | 52320 | 60790 | 77800
2.5 | 50/0.25 |  | 11510 | 15950 | 20900 | 27310 | 32280 | 36050 | 53250 | 63040 | 73730 | 83720 | 98010 | 125140
4 | 56/0.3 |  | 17940 | 25950 | 33390 | 44810 | 51340 | 59480 | 87520 | 103770 | 120360 | 136940 | 160830 | 206680
6 | 84/0.3 |  | 26440 | 37590 | 50130 | 64530
10 | 80/0.4 |  | 44210 | 63450 | 83730 | 109260
16 | 126/0.4 |  | 68090 | 97540 | 128750
25 | 196/0.4 |  |  | 156990 | 206070
35 | 276/0.4 |  |  | 218300 | 284680
50 | 396/0.4 |  |  | 312620 | 408670
70 | 354/0.5 |  |  | 431390 | 567630
95 | 484/0.5 |  |  | 0 | 751050
120 | 608/0.5 |  |  |  |  | Note : 1) FRLS Loading - 3% Extra for Multi Core Flexible Cables. 2) ORGANIC CABLES I 3 Core Flat Submersible Cables PVC Insulated & Sheathed with XLPE can be supplied at the same rates as PVC insulated cables. 3) Packing for 3 Core Flat Submersible Cables : ● Cables upto 4sqmm are supplied in 500Mtr/1000Mtr drums. ● Cables from 6sqmm to 25sqmm are supplied in 500Mtr drums. ● Cables of 1.5sqmm, 2.5sqmm & 4sqmm are also supllied in 300Mtr coil. 4) Packing for Single & Multi Core Round Wire Flexible cables : ● Single Core Flexible cables upto 6sqmm are supplied in Master Carton as shown above. ● Single Core 10sqmm and above will be supplied in single coil packing. ● Single Core 120sqmm and above & Multicore 6sqmm & above available in coil packing.
ORGANIC CABLES 3 CORE FLAT CABLES FOR SUBMERSIBLE PUMP MOTORS
(Rate in Rs. Per 100 Mtrs)
SQ. MM |  | COND. CONST. (NO./DIA.MM) |  | RATE
1.5 |  | 30/0.25 |  | 10190
2.5 |  | 50/0.25 |  | 15770
4 |  | 56/0.3 |  | 23780
6 |  | 84/0.3 |  | 35570
10 |  | 80/0.4 |  | 58760
16 |  | 126/0.4 |  | 92850
25 |  | 196/0.4 |  | 139560
● GST and any other tax/levy will be charged extra, at actuals. Freight as per Policy. ● Please refer to our Marketing Department for Wires & Cables, not covered above. ● This Price List is subject to change without prior notice.
ORGANIC WIRES & CABLES Page 02 of 02